## INTRO
Data and Analysis of my Energy Usage and Solar System - can be easily used for yours! ;-)
I started building this spreadsheet in 2023 when I was installing Solar to help with the design - the Cost & Payback tab is fairly generic - try it out with your system! ;-)
Over time, it has evolved to also show and analyze my utility data … and again, it's fairly generic so you can easily replace with your data and generate pretty graphs.
There's a LOT of data/analysis here … but don't let it overwhelm you at first … as you'll soon realize that "most" of the conditions/situations of interest are covered.
I use Powerwall-Dashboard to get production/usage data from my Solar panels - this ROCKS and his highly recommended!
I welcome any suggestions/feedback. Alek Komarnitsky - www.komar.org
Worksheet tab | Description
Prod & Usage Graphs | Graph of predicted and actual solar production plus home usage
Utility Graphs | Graph of Electrical & Gas Usage with Heating/Cooling Days
Annual Graphs | Bar Charts of Electrical & Gas Usage since 2008
Cost & Payback | How much did it cost to put in Solar and a WAG on if it's worth it?
Pred Prod | Solar production as predicted from NREL PVWatts
Elec & Gas Data | Electrical & Gas data from utility plus solar production
YYYY Data | Data by Year
Things still to do and/or not handled
Email me at alek@komar.org and suggest something! ;-)
Last Updated: 4/10/2025

## Prod & Usage Graphs
Solar Panel Production/Usage Analysis
7.2kW system of 18 Tesla 400H Watt Solar Panels in three arrays of 2@192°, 8@102°, 8@282° all at 23° pitch with very minimal shading at (basically) 40N & 105W - operational 9/1/2023

## Utility Graphs
kWh and Therms used alongside Cooling & Heating Days
Cooling days use Electricity (kWh) to cool the house - Heating days use Gas (Therms) to warm it.

## Annual Graphs
Annual Electrical & Gas Usage

## Cost & Payback
Solar System Cost Data and Payback Analysis
Note that Payback Analysis is very sensitive (DUH!) to electricity costs (mine was 13.5 cents/kWh in 2023) and annual increases (2.5% last 25+ years) plus investment rate of return (S&P500 pre-tax is 9.6% last 20 years)
I currently get 1:1 Net Energy Metering … but Utilities are reducing the NEM (they kinda have to) so this will have an even more dramatic effect on payback time!
Mine is 7.2kW system of 18 Tesla 400H Watt Solar Panels in three arrays of 2@192°, 8@102°, 8@282° all at 23° pitch with very minimal shading at (basically) 40N & 105W - operational 9/1/2023
18504 | Acquisition Cost … note this was "linear" pricing - i.e. $2.57/Watt even if more/less panels, so makes it easy to generate "optimum" cost analysis below.
5551.2 | Federal Tax Credit/Subsidy of 30% - thank you taxpayers! ;-)
12952.8 | My Cost which ends up being $1.80/Watt after subsidy - Namaste was 50% higher at $2.70/Watt!
200 | Tesla doesn't install a Critter Guard and installers quoted it at $1,000 … but I did it myself for cost of materials of $200.
13152.8 | TOTAL Cost - LOL does NOT include putting the entire amount on a (big spend) credit card for no fee … so got 158,504 points ($18,504 charge, 40,000 referral to Wendy, 100,000 bonus!) … KA-CHING!
0 | <<<<<<<< Select a numbers from one of the scenario's below and scroll down to see results
Nothing else needs to be changed unless you enter "Custom" numbers below and select that numeric option - Note that some columns are calculated for you
|  | Costs - ONLY enter Pre-Tax, Tax Credit Rate, and any Extra Costs |  |  |  |  | $/Watt |  | $/kWh |  |  | Capacity | System |  | Starting | Annual Increase
Selected # | Scenario | Pre-Tax | Tax Credit | Post-Tax | Extra | Total | Pre-Tax | Post-Tax | Annual | kW Rating | kWh Solar | Factor | Degrade % | kWh Usage | Cents/kWh | Elec % | Invest % | NEM % | Start Year | Selected # | Scenario
0 | Actual so far | 18504 | 30% | 12952.8 | 200 | 13152.8 | 2.5978 | 1.8268 | 1.4948 | 7.2 | 8799 | 13.95% | 0.5% | 6295 | 14.3296 | 2.5% | 7% | 100% | 2023 | 0 | Actual numbers over the years - table below must have numbers
0 | Actual so far | 18504 | 30% | 12952.8 | 200 | 13152.8 | 2.5978 | 1.8268 | 1.4948 | 7.2 | 8799 | 13.95% | 0.5% | 6295 | 14.3296 | 2.5% | 7% | 100% | 2023 | 0 | Actual numbers over the years - table below must have numbers
1 | Opt #1 | 18504 | 30% | 12952.8 | 200 | 13152.8 | 2.5978 | 1.8268 | 1.4614 | 7.2 | 9000 | 14.27% | 0.5% | 9000 | 13.5 | 2.5% | 7% | 100% | 2023 | 1 | Optimal Scenario #1 - match Usage to Output
2 | Opt #2 | 15420 | 30% | 10794 | 200 | 10994 | 2.6033 | 1.8323 | 1.4659 | 6 | 7500 | 14.27% | 0.5% | 7500 | 13.5 | 2.5% | 7% | 100% | 2023 | 2 | Optimal Scenario #2 - match Output to Usage
3 | As Planned | 18504 | 30% | 12952.8 | 200 | 13152.8 | 2.5978 | 1.8268 | 1.4614 | 7.2 | 9000 | 14.27% | 0.5% | 7500 | 13.5 | 2.5% | 7% | 100% | 2023 | 3 | This is the actual numbers used when designing my Solar System
4 | Nameste | 50000 | 30% | 35000 | 0 | 35000 | 3.6765 | 2.5735 | 2.0588 | 13.6 | 17000 | 14.27% | 0.5% | 17000 | 13.5 | 2.5% | 7% | 100% | 2024 | 4 | Early/2024 Neighbor (ballpark numbers) - details below in note #2
5 | Nameste | 120000 | 30% | 84000 | 0 | 84000 | 4 | 2.8 | 2.3333 | 30 | 36000 | 13.7% | 0.5% | 45000 | 13.5 | 2.5% | 7% | 100% | 2024 | 5 | Early/2024 Neighbor (ballpark numbers) - details below in note #3
6 | Nameste | 30000 | 30% | 21000 | 0 | 21000 | 4.2254 | 2.9577 | 2.8767 | 7.1 | 7300 | 11.74% | 0.25% | 7300 | 15 | 4% | 7% | 100% | 2025 | 6 | Early/2025 Neighbor - expected solar output is diminished due to shade from trees
7 | Alaska | 20113 | 26% | 14883.62 | 0 | 14883.62 | 3.02 | 2.2348 | 2.7229 | 6.66 | 5466 | 9.369% | 0.5% | 5466 | 20 | 3% | 3% | 100% | 2022 | 7 | "LOW" Scenario from Alaska 6.7kW system - assume all solar output is used
8 | Custom |  |  | 0 |  | 0 | 0 | 0 | 0 |  |  | 0% | [7 empty] | 8 | Enter your own Custom Numbers
The numbers in the columns below come from above - ONLY select the number of the scenario
13152.8 | Total Cost to install Solar System after tax credit/subsidy - should include Critter Guard and any other misc.
8799 | kWh Starting Solar Production
0.5% | Annual Degradation in Solar Output - My specs (typical) say expected solar production will be at least 86% after 25 years. Panel Warranty is 25 years - Inverter is 12.5 years (Tesla fixes, but does not make up loss of production)
6295 | kWh Electrical Usage
14.3296 | Average Annual Cents/kWh at start - For me, I declined TOU, so it's fixed cents/kWh from 6/1-9/30 and a bit lower the rest of the year - details on Prod & Usage Data Tab
100% | NEM (Net Energy Metering) Factor. I.e. 100% (or 1:1) means you get the same rate for selling excess energy as you pay for it. Expect this number to decrease in the years to come!
2.5% | Annual percent increase in electricity - EIA for Colorado shows last 25+ years is about 2.5% which is similar to what I have seen personally - LOL that 2023->2024 was 10%!
My data (minus connection fee) from historical December rates: 2006/8.0 - 2008/9.2 - 2010/9.4 - 2012/10.2 - 2014/10.6 - 2016/10.7 - 2018/10.7 - 2020/11.0 - 2022/11.9
7% | Post-tax Investment Rate of Return - possible numbers are 3% for CD's, 9.6% (S&P500 last 20 years to 2023) or 12.2% (S&P500 last 10 years) and then adjust for taxes - https://www.officialdata.org/us/stocks/s-p-500/
Simplifying by doing calculations by year, rather than by month. Ending is Starting+IRR-Usage (if invested versus saved) | [9 empty] | Solar Bank |  | TOTAL |  |  | Scenario ZERO: ACTUAL values by year from Elec & Gas Data Tab and your IRR (I use S&P500 minus 30% for taxes)
Year | Starting | kWh Cost | Solar kWh | Solar $$$ | Usage kWh | Usage $$$ | IRR | Ending |  | Year | Total | Ending - SB | Year |  | kWh Cost | % Change | NEM % | Solar kWh | % Change | Usage kWh | %Change | IRR | Year
1 | 13152.8 | 14.3296 | 8799 | 1260.8639 | 6295 | 902.05 | 2145.2217 | 14395.9717 |  | 358.8139 | 358.8139 | 14037.1578 | 1 |  | 14.3296 | 7.122% | 100% | 8799 | N/A | 6295 | N/A | 16.31% | 1 | <<<<< Last "real" data (2024) pulled from Elec & Gas Data Tab
2 | 14395.9717 | 14.6879 | 8755.005 | 1285.9235 | 6295 | 924.6012 | 1007.718 | 14479.0884 |  | 361.3223 | 720.1361 | 13758.9523 | 2 |  | 14.6879 | 2.5% | 100% | 8755.005 | -0.5% | 6295 | 0% | 7% | 2 | <<<<< DATA EXTRAPOLATED FROM HERE ONWORD
3 | 14479.0884 | 15.0551 | 8711.23 | 1311.4813 | 6295 | 947.7163 | 1013.5362 | 14544.9084 |  | 363.765 | 1083.9011 | 13461.0073 | 3 |  | 15.0551 | 2.5% | 100% | 8711.23 | -0.5% | 6295 | 0% | 7% | 3 | <<<<< Add actual data on as it becomes available each year
4 | 14544.9084 | 15.4314 | 8667.6738 | 1337.5469 | 6295 | 971.4092 | 1018.1436 | 14591.6428 |  | 366.1378 | 1450.0388 | 13141.6039 | 4 |  | 15.4314 | 2.5% | 100% | 8667.6738 | -0.5% | 6295 | 0% | 7% | 4
5 | 14591.6428 | 15.8172 | 8624.3355 | 1364.1307 | 6295 | 995.6944 | 1021.415 | 14617.3633 |  | 368.4363 | 1818.4751 | 12798.8882 | 5 |  | 15.8172 | 2.5% | 100% | 8624.3355 | -0.5% | 6295 | 0% | 7% | 5
6 | 14617.3633 | 16.2127 | 8581.2138 | 1391.2428 | 6295 | 1020.5868 | 1023.2154 | 14619.992 |  | 370.656 | 2189.1311 | 12430.8609 | 6 |  | 16.2127 | 2.5% | 100% | 8581.2138 | -0.5% | 6295 | 0% | 7% | 6
7 | 14619.992 | 16.618 | 8538.3077 | 1418.8937 | 6295 | 1046.1014 | 1023.3994 | 14597.29 |  | 372.7923 | 2561.9234 | 12035.3666 | 7 |  | 16.618 | 2.5% | 100% | 8538.3077 | -0.5% | 6295 | 0% | 7% | 7
8 | 14597.29 | 17.0334 | 8495.6162 | 1447.0942 | 6295 | 1072.254 | 1021.8103 | 14546.8463 |  | 374.8403 | 2936.7637 | 11610.0826 | 8 |  | 17.0334 | 2.5% | 100% | 8495.6162 | -0.5% | 6295 | 0% | 7% | 8
9 | 14546.8463 | 17.4593 | 8453.1381 | 1475.8552 | 6295 | 1099.0603 | 1018.2792 | 14466.0652 |  | 376.7949 | 3313.5586 | 11152.5066 | 9 |  | 17.4593 | 2.5% | 100% | 8453.1381 | -0.5% | 6295 | 0% | 7% | 9
10 | 14466.0652 | 17.8957 | 8410.8724 | 1505.1879 | 6295 | 1126.5368 | 1012.6246 | 14352.1529 |  | 378.651 | 3692.2096 | 10659.9433 | 10 |  | 17.8957 | 2.5% | 100% | 8410.8724 | -0.5% | 6295 | 0% | 7% | 10
11 | 14352.1529 | 18.3431 | 8368.818 | 1535.1035 | 6295 | 1154.7003 | 1004.6507 | 14202.1034 |  | 380.4032 | 4072.6128 | 10129.4905 | 11 |  | 18.3431 | 2.5% | 100% | 8368.818 | -0.5% | 6295 | 0% | 7% | 11
12 | 14202.1034 | 18.8017 | 8326.9739 | 1565.6137 | 6295 | 1183.5678 | 994.1472 | 14012.6828 |  | 382.0459 | 4454.6587 | 9558.0241 | 12 |  | 18.8017 | 2.5% | 100% | 8326.9739 | -0.5% | 6295 | 0% | 7% | 12
13 | 14012.6828 | 19.2718 | 8285.3391 | 1596.7302 | 6295 | 1213.157 | 980.8878 | 13780.4137 |  | 383.5733 | 4838.232 | 8942.1817 | 13 |  | 19.2718 | 2.5% | 100% | 8285.3391 | -0.5% | 6295 | 0% | 7% | 13
14 | 13780.4137 | 19.7535 | 8243.9124 | 1628.4652 | 6295 | 1243.4859 | 964.629 | 13501.5567 |  | 384.9794 | 5223.2113 | 8278.3454 | 14 |  | 19.7535 | 2.5% | 100% | 8243.9124 | -0.5% | 6295 | 0% | 7% | 14
15 | 13501.5567 | 20.2474 | 8202.6928 | 1660.831 | 6295 | 1274.573 | 945.109 | 13172.0927 |  | 386.258 | 5609.4693 | 7562.6234 | 15 |  | 20.2474 | 2.5% | 100% | 8202.6928 | -0.5% | 6295 | 0% | 7% | 15
16 | 13172.0927 | 20.7536 | 8161.6794 | 1693.84 | 6295 | 1306.4374 | 922.0465 | 12787.7018 |  | 387.4026 | 5996.8719 | 6790.8299 | 16 |  | 20.7536 | 2.5% | 100% | 8161.6794 | -0.5% | 6295 | 0% | 7% | 16
17 | 12787.7018 | 21.2724 | 8120.871 | 1727.5051 | 6295 | 1339.0983 | 895.1391 | 12343.7426 |  | 388.4068 | 6385.2787 | 5958.4639 | 17 |  | 21.2724 | 2.5% | 100% | 8120.871 | -0.5% | 6295 | 0% | 7% | 17
18 | 12343.7426 | 21.8042 | 8080.2666 | 1761.8392 | 6295 | 1372.5758 | 864.062 | 11835.2288 |  | 389.2635 | 6774.5422 | 5060.6866 | 18 |  | 21.8042 | 2.5% | 100% | 8080.2666 | -0.5% | 6295 | 0% | 7% | 18
19 | 11835.2288 | 22.3493 | 8039.8653 | 1796.8558 | 6295 | 1406.8901 | 828.466 | 11256.8047 |  | 389.9656 | 7164.5079 | 4092.2969 | 19 |  | 22.3493 | 2.5% | 100% | 8039.8653 | -0.5% | 6295 | 0% | 7% | 19
20 | 11256.8047 | 22.9081 | 7999.6659 | 1832.5683 | 6295 | 1442.0624 | 787.9763 | 10602.7187 |  | 390.5059 | 7555.0138 | 3047.7049 | 20 |  | 22.9081 | 2.5% | 100% | 7999.6659 | -0.5% | 6295 | 0% | 7% | 20
21 | 10602.7187 | 23.4808 | 7959.6676 | 1868.9906 | 6295 | 1478.114 | 742.1903 | 9866.795 |  | 390.8766 | 7945.8904 | 1920.9046 | 21 |  | 23.4808 | 2.5% | 100% | 7959.6676 | -0.5% | 6295 | 0% | 7% | 21
22 | 9866.795 | 24.0678 | 7919.8693 | 1906.1368 | 6295 | 1515.0668 | 690.6756 | 9042.4038 |  | 391.07 | 8336.9604 | 705.4435 | 22 |  | 24.0678 | 2.5% | 100% | 7919.8693 | -0.5% | 6295 | 0% | 7% | 22
23 | 9042.4038 | 24.6695 | 7880.2699 | 1944.0213 | 6295 | 1552.9435 | 632.9683 | 8122.4286 |  | 391.0778 | 8728.0382 | -605.6095 | 23 |  | 24.6695 | 2.5% | 100% | 7880.2699 | -0.5% | 6295 | 0% | 7% | 23
24 | 8122.4286 | 25.2862 | 7840.8686 | 1982.6587 | 6295 | 1591.7671 | 568.57 | 7099.2316 |  | 390.8916 | 9118.9298 | -2019.6982 | 24 |  | 25.2862 | 2.5% | 100% | 7840.8686 | -0.5% | 6295 | 0% | 7% | 24
25 | 7099.2316 | 25.9184 | 7801.6642 | 2022.064 | 6295 | 1631.5612 | 496.9462 | 5964.6165 |  | 390.5028 | 9509.4325 | -3544.816 | 25 |  | 25.9184 | 2.5% | 100% | 7801.6642 | -0.5% | 6295 | 0% | 7% | 25
26 | 5964.6165 | 26.5663 | 7762.6559 | 2062.2525 | 6295 | 1672.3503 | 417.5232 | 4709.7894 |  | 389.9023 | 9899.3348 | -5189.5454 | 26 |  | 26.5663 | 2.5% | 100% | 7762.6559 | -0.5% | 6295 | 0% | 7% | 26
27 | 4709.7894 | 27.2305 | 7723.8426 | 2103.2398 | 6295 | 1714.159 | 329.6853 | 3325.3156 |  | 389.0808 | 10288.4156 | -6963.0999 | 27 |  | 27.2305 | 2.5% | 100% | 7723.8426 | -0.5% | 6295 | 0% | 7% | 27
28 | 3325.3156 | 27.9112 | 7685.2234 | 2145.0417 | 6295 | 1757.013 | 232.7721 | 1801.0747 |  | 388.0287 | 10676.4443 | -8875.3696 | 28 |  | 27.9112 | 2.5% | 100% | 7685.2234 | -0.5% | 6295 | 0% | 7% | 28
29 | 1801.0747 | 28.609 | 7646.7973 | 2187.6744 | 6295 | 1800.9383 | 126.0752 | 126.2116 |  | 386.7361 | 11063.1804 | -10936.9687 | 29 |  | 28.609 | 2.5% | 100% | 7646.7973 | -0.5% | 6295 | 0% | 7% | 29
30 | 126.2116 | 29.3243 | 7608.5633 | 2231.1544 | 6295 | 1845.9618 | 8.8348 | -1710.9153 |  | 385.1926 | 11448.373 | -13159.2883 | 30 |  | 29.3243 | 2.5% | 100% | 7608.5633 | -0.5% | 6295 | 0% | 7% | 30
[6 empty] | Positive value means better to have invested - negative means Solar was better | [5 empty] | ^^^^^^^
Notes
#1: Note that since Tesla pricing is linear, for what-if scenario's, you can simply adjust total price/output based on (ignore critter guard) $1.80/Watt post-tax. I had originally planned to put in 16 panels, but decided at the last minute to add 2 more … a mistake unless we increase our home usage!
#2: BHE Neighbor used Namaste - went BIG with 32 panels - 13kW - 17kWh (only 70% of their usage - albeit with two EV's) for $50,000(!) and includes critter guard and Micro-Inverter Design. Nameste floats tax credit ($17,000!) as a tax-free loan.
#3: Neighbor to East used Namaste - went BIGGER with 74(!) panels - 29kW - 36kWh (only 80% of their usage - albeit with two EV's and hot tub) for $120,000 and includes Critter Guard and Micro-Inverter Design. They weren't certain on the numbers, so those are estimates but seems about right.
Column Info
B: Starting value is how much solar cost OR you can invest … and then is updated each year.
C: Electricity costs in cents/kWh, increasing each year - mine is 2.5%/year in last 25+ years.
D: How much Solar Panels generate each year in kWh after degradation … output typically decreases 0.5% per year.
E: Multiply C & D … AND multiply by NEM factor to get the "value" generated by Solar.
F: How much energy is actually used. If less than solar production, then the extra goes (1:1 at cost!) into Column K - Solar Bank.
G: Multiply C & minimum of (D,F). I.e. the cents/kWh times how much kWh (up to usage) that solar produces that I don't have to pay for.
H: Multiple B times post-tax invest rate of return to get the "didn't invest in solar" return. The 20-year S&P 500 return is 9.6%, so Post-tax is about 7.5% multiplied by capital left in Column B.
I: Columns B-G+H (That year's Capital MINUS what I saved from Solar PLUS what I could have earned from S&P 500) ... which feeds back into next year Column B ... and then repeat each year!
K&L: Solar Bank - this accounts for generated solar (and $$$) that is in excess of usage and can be used to offset future cost. If the Total goes Negative, then I have to "pay" to cover the excess energy usage.
Note this can be used if Solar doesn't provide enough, stops working, etc. But this is LOST when you move, so ideally not much positive balance.
N: Columns I-L (Capital remaining minus Solar Bank balance) which is the "TOTAL" number - if it goes negative, then Solar was the better investment.
BIG issue is what will happen with NEM in the next couple of decades!!!
2023: California moves from NEM2.0 to NEM3.0 which reduces the value of excess solar generation from retail rates to "Avoided Cost" (think Wholesale rates)... which is *considerably* less.
2024: California increased fixed costs to $24/month and decreased cents/kWh 20% … LOL it was at 31 cents/kWh - over double what Colorado is!
If high percentage of energy comes from solar, then during peak production times rates go "negative" … and personal batteries are EXPENSIVE!
Xcel has a required "Service & Facilities Charge" that can NOT be offset by excess solar production
2023/09-$75 2024/06-$86
In fairness, Xcel provides me with (basically) an "Infinite battery" available 7x24 to provide (and absorb) my power for under $100/year - WHAT A DEAL!!!
Significant issues include if install damaged roof, hail damage, replacing roof (I have concrete tile, but shingles would require multi-thousand dollar destack), inverter failure (warranty is 12.5 years), critter damage, etc.
Other minor issues are increase in homeowner's insurance, property taxes (not allowed in Colorado), timing of tax credit (9 months later for me!), and see comment below.
BTW, I use the "published" Xcel energy rates, which in 2024 was 13 cents/kWh and 16 cents/kWh in the summer months.
However, they have additional charges that increase that about 10% … part of that is probably recovering the "line losses" (i.e. from their generation plants to my house where it's measured)
plus (probably) a money play with blessing from the State utilities commission. LOL I have no idea how they handle this for NEM! So ideally this should be accounted for in the payback analysis … but it's "complicated" to do so.
Counter-balancing that is the fact that the solar system/monitoring draws a slight amount of power which I've measured at 0.32 Amps. But since that is 7x24, that adds up - like all vampire loads!
0.32AmpsX120VoltsX24HoursX365Days is 336kWh(!)/year ... which (at ~14 cents/kWh average) is $47/year. Plus there's an additional ~$25/year for my homeowners insurance.
So I think those offset each other "close enough" in the analysis.

## Pred Prod
Solar Production Predicted Output
NREL PVWatts Calculator was done in mid/2024 using website version 8.2.1 and API version 8.0 with default parameters with Premium Modules and Roof Mount with 23° pitch
PVWatts says that based on 30 years of weather data and the annual variability for Boulder CO, there is a 90% chance that production will be 93% or higher and 10% chance>103%
You can easily change the values below (which flow to the other tabs and graphs) with your own by using the PVWatts website, what your vendor has provided, or however you predict output.
I have a 7.2kW system of 18 Tesla 400H Watt Solar Panels in three arrays of 2@192°, 8@102°, 8@282° all at 23° pitch with very minimal shading at (basically) 40N & 105W - operational 9/1/2023
Interesting that (for those 2X400 panels), PVWatts at (as installed) 192/23o (azimuth/pitch) is 1,199 kWh, optimum azimuth is 172o (not 180o) for 1,211kWh, and absolute optimum is 172/40o (matching my latitude) for 1,246kWh
Predicted kWh Output from NREL PVWatts Calculator - https://pvwatts.nrel.gov/
kW Capacity | 7200 | 3200 | 800 | 3200
| TOTAL | 8x400@102° | 2x400@192° | 8x400@282°
Month | All Arrays | Array2 | Array1 | Array3 | Array4 | Array5 | Array6 | Array7 | Array8 | Array9
Jan | 444 | 8x400@102° Array2: 208; 2x400@192° Array1: 75; 8x400@282° Array3: 161
Feb | 553 | 8x400@102° Array2: 254; 2x400@192° Array1: 84; 8x400@282° Array3: 215
Mar | 797 | 8x400@102° Array2: 369; 2x400@192° Array1: 108; 8x400@282° Array3: 320
Apr | 921 | 8x400@102° Array2: 422; 2x400@192° Array1: 114; 8x400@282° Array3: 385
May | 1026 | 8x400@102° Array2: 485; 2x400@192° Array1: 117; 8x400@282° Array3: 424
Jun | 1073 | 8x400@102° Array2: 496; 2x400@192° Array1: 119; 8x400@282° Array3: 458
Jul | 1009 | 8x400@102° Array2: 488; 2x400@192° Array1: 115; 8x400@282° Array3: 406
Aug | 956 | 8x400@102° Array2: 454; 2x400@192° Array1: 115; 8x400@282° Array3: 387
Sep | 812 | 8x400@102° Array2: 378; 2x400@192° Array1: 106; 8x400@282° Array3: 328
Oct | 620 | 8x400@102° Array2: 287; 2x400@192° Array1: 91; 8x400@282° Array3: 242
Nov | 490 | 8x400@102° Array2: 228; 2x400@192° Array1: 81; 8x400@282° Array3: 181
Dec | 416 | 8x400@102° Array2: 197; 2x400@192° Array1: 74; 8x400@282° Array3: 145
Yearly kWh | 9117 | 8x400@102° Array2: 4266; 2x400@192° Array1: 1199; 8x400@282° Array3: 3652
Variance | 8456-9372 | 8x400@102° Array2: 3955-4383; 2x400@192° Array1: 1118-1239; 8x400@282° Array3: 3383-3750
| 8971 | 8x400@102° Array2: Tesla estimated annual energy production at install - 1.6% less than NREL PVWatts - may account for very slight chimney shading?
Panels should provide 98%+ production the first year and then degrading 0.5%/year
Capacity Factor - predicted kWh output divided by kW capacity (X24 hours X days in month) - data entered above
Month | All Arrays | Array1 | Array2 | Array3 | Array4 | Array5 | Array6 | Array7 | Array8 | Array9
Jan | 8.289% | Array1: 12.6%; Array2: 8.737%; Array3: 6.762%
Feb | 11.43% | Array1: 15.62%; Array2: 11.81%; Array3: 9.998%
Mar | 14.88% | Array1: 18.15%; Array2: 15.5%; Array3: 13.44%
Apr | 17.77% | Array1: 19.79%; Array2: 18.32%; Array3: 16.71%
May | 19.15% | Array1: 19.66%; Array2: 20.37%; Array3: 17.81%
Jun | 20.7% | Array1: 20.66%; Array2: 21.53%; Array3: 19.88%
Jul | 18.84% | Array1: 19.32%; Array2: 20.5%; Array3: 17.05%
Aug | 17.85% | Array1: 19.32%; Array2: 19.07%; Array3: 16.26%
Sep | 15.66% | Array1: 18.4%; Array2: 16.41%; Array3: 14.24%
Oct | 11.57% | Array1: 15.29%; Array2: 12.05%; Array3: 10.16%
Nov | 9.452% | Array1: 14.06%; Array2: 9.896%; Array3: 7.856%
Dec | 7.766% | Array1: 12.43%; Array2: 8.275%; Array3: 6.09%
Year | 14.45% | Array1: 17.11%; Array2: 15.22%; Array3: 13.03%

## Elec & Gas Data
Gas and Electrical Usage plus Solar Production
Misc. Info about my Gas and Electrical Usage plus Solar Production with annual totals. By-Year is on other worksheet tabs.
LIFETIME | Usage | Solar | Net | (All since 9/1/2023)
kWh | 9464 | 11031 | 1567
Equiv Cost | 1317.66 | 1747.87 | 430.21 | I.e. Installed too many solar panels!
Annual Gas and Electrical Usage with Solar Generation from 2024 onward
| Gas | Heating | Cooling | Usage | Solar
Year | Therms | Days | Days | kWh | kWh | Net | Year | NOTES/CHANGES
2008 | 773 |  |  | 9875 |  |  | 2008
2009 | 805 |  |  | 8889 |  |  | 2009
2010 | 851 |  |  | 8457 |  |  | 2010
2011 | 910 |  |  | 9112 |  |  | 2011
2012 | 776 |  |  | 8269 |  |  | 2012 | Install Radon Fan which pulls ~60Watts which runs 7X24 (so 500+kWh/year) in August/2022
2013 | 1053 |  |  | 9113 |  |  | 2013 | Old fridge died (while gone for a week - STINKERS) so new/better/bigger one installed in August/2013
2014 | 1122 |  |  | 8179 |  |  | 2014
2015 | 994 |  |  | 7266 |  |  | 2015
2016 | 878 |  |  | 7518 |  |  | 2016
2017 | 861 |  |  | 7511 |  |  | 2017
2018 | 1003 |  |  | 8843 |  |  | 2018
2019 | 1065 |  |  | 7466 |  |  | 2019 | New Furnace and A/C installed in October/2019. Furnace probably won't make much difference (although less cost to run fan) and A/C should be more efficient
2020 | 1041 |  |  | 7568 |  |  | 2020 | Hot Water Heater (Gas) replaced in Feb/2020 … doubt it will make much difference
2021 | 939 | 5660 | 1189 | 7612 |  |  | 2021 | Data from 2021 onward is based on Xcel (numbers above) and has higher accuracy
2022 | 904 | 5825 | 1012 | 6700 |  |  | 2022 | Dirk moves out in March/2022 (maybe ~1000kWh/year difference?) plus 4 Blown Windows replaced in Feb/2022 and insulation put above garage & attic in the August/2022 (maybe some difference in kWh and Therms)
2023 | 865 | 5150 | 741 | 5590 | 2232 | 404 | 2023 | Solar goes live at end of August/2023 (LOL might have turned on a bit earlier) … so now converting photos to electrons! ;-)
2024 | 738 | 5783 | 927 | 6295 | 8799 | 2504 | 2024 | Gas Cooktop (made in 1997- bought used via Craigslist in 2007) replaced with Induction in August/2024 - should see slight shift from Therms to kWh
2025 | [6 empty] | 2025
Year | Gas | Heating | Cooling | Usage | Solar | Net | Year | NOTES/CHANGES
| Therms | Days | Days | kWh | kWh
My house was built in 1992 with 3,200 finished square feet & 1,400 unfinished basement. Gas is used for the furnace, hot water, cooktop (until Aug/2024), and outside BBQ (rarely used) - everything else is electric.
Data below shows Therms (Gas Usage), Heating & Cooling Days, kWh Solar/Usage/Net (as reported by Powerwall), Net (as reported by Xcel), and Daily Peak Solar/Usage kWh … plus a bunch of cost data.
BTW, summertime baseline (lights aren't on as much) is just over 7kWh/day - about 300 Watts/hour average(!) - 7x24 Radon Fan and computer stuff is close to half of that.
Xcel data comes from their website as they provide data by month - note with Solar installed, you can (mostly) only see Net, since total usage includes some from Solar.
Xcel NEM (Net Energy Metering) is (currently!) 1:1 consumed and converted (then) to a dollar amount for a Solar Bank than can accumulate and be used to offset any extra.
But since you can NOT cash this in and you LOSE it when you move, you do NOT want to generate excessive Solar Energy!
The Solar Bank Rollover calculations are close but slightly off - after first year (9/1/2023-2024), Xcel says $352.73 and I show $384.
They had some "issues" getting this going in the first few months, plus the plethora of additional charges/credits results in it not being exactly 13/14 cents/kWh.
NEM can be incredibly complex. To fully handle TOU (Time-of-Use) and things such as demand pricing, you'd need by-minute production, usage, and cost data. This spreadsheet can only adjust cents/kWh and NEM at a monthly granularity.
Predicted comes from NREL-PVWatts … see Pred Prod worksheet tab. Powerwall-Dashboard (which correlates very with Xcel) provides total Solar/Usage data which is used in the cost calculations.
When I manually added up my monthly utility bills, my electrical usage from 2019-2022 was 7,466/7,568/7,612/7,700 kWh which formed the basis for sizing the solar system.
This is an average of 7,586kWh (with 1.5% variance!), yet somehow our total home usage for the first year of solar from 9/1/2023-2024 dropped to 6,117 kWh - WTF?!?
Note there is no major changes in our usage - if anything, we crank the A/C more(!) … so why the heck is the usage almost 20% lower?!?
Well darn … I made a math error summing up the monthly 2022 statements and used 7,700 when it was 6,700 - confirmation bias looking at previous years!
Now that now I have better access to Xcel data, 2021 was 7,612kWh … but 2022 dropped to 6,700kWh … due to Dirk leaving house - LOL he was pulling a incremental ~1,000kWh … which actually seems reasonable!
So obviously a boo-boo in sizing the system … and then further compounded by deciding to add two more panels at the last minute - D'OH! ;-)
This means the system is over-sized and I product more than I use. So Xcel gets the excess while my Solar Bank grows ... but will I ever use it?!?

## 2025 Data
2025 Gas and Electrical Usage plus Solar Production
This raw data flows to the other worksheet tabs and graphs
| Xcel Data |  |  |  |  | PVWatts | Powerwall-Dashboard |  |  | Xcel | Costs |  |  |  | Peak Daily
| Gas | Heating | Cooling | Cents/ |  | Predicted | Solar | Usage |  |  | Solar | Usage | Net@NEM of |  | Solar/Usage
Month | Therms | Days | Days | kWh | NEM | kWh | kWh | kWh | Net | Net | kWh | kWh | 100% | Actual | kWh | Month
Jan | 175 | 1275 | 0 | 13 | 100% | 444 | 231 | 535 | -304 | -307 | 30.03 | 69.55 | -39.52 | -39.52 | 22.0/21.7 | Jan
Feb | 142 | 974 | 0 | 13 | 100% | 553 | 392 | 416 | -24 | -25 | 50.96 | 54.08 | -3.12 | -3.12 | 27.3/21.6 | Feb
Mar | 62 | 640 | 0 | 13 | 100% | 797 | 821 | 427 | 394 | 394 | 106.73 | 55.51 | 51.22 | 51.22 | 35.3/18.3 | Mar
Apr |  |  |  |  | 100% | 921 |  |  |  |  | 0 | 0 | 0 |  |  | Apr
May |  |  |  |  | 100% | 1026 |  |  |  |  | 0 | 0 | 0 |  |  | May
Jun |  |  |  |  | 100% | 1073 |  |  |  |  | 0 | 0 | 0 |  |  | Jun
Jul |  |  |  |  | 100% | 1009 |  |  |  |  | 0 | 0 | 0 |  |  | Jul
Aug |  |  |  |  | 100% | 956 |  |  |  |  | 0 | 0 | 0 |  |  | Aug
Sep |  |  |  |  | 100% | 812 |  |  |  |  | 0 | 0 | 0 |  |  | Sep
Oct |  |  |  |  | 100% | 620 |  |  |  |  | 0 | 0 | 0 |  |  | Oct
Nov |  |  |  |  | 100% | 490 |  |  |  |  | 0 | 0 | 0 |  |  | Nov
Dec |  |  |  |  | 100% | 416 |  |  |  |  | 0 | 0 | 0 |  |  | Dec
ANNUAL | 379 | 2889 | 0 | 13 | 100% | 9117 | 1444 | 1378 | 66 | 62 | 187.72 | 179.14 | 8.58 | 8.58 |  | ANNUAL
|  |  |  | ^^^^Usage Average |  | 8971 | Tesla Annual Predicted
WARM | COLD | Months based on abnormal heating/cooling days

## 2024 Data
2024 Gas and Electrical Usage plus Solar Production
This raw data flows to the other worksheet tabs and graphs
| Xcel Data |  |  |  |  | PVWatts | Powerwall-Dashboard |  |  | Xcel | Costs |  |  |  | Peak Daily
| Gas | Heating | Cooling | Cents/ |  | Predicted | Solar | Usage |  |  | Solar | Usage | Net@NEM of |  | Solar/Usage
Month | Therms | Days | Days | kWh | NEM | kWh | kWh | kWh | Net | Net | kWh | kWh | 100% | Actual | kWh | Month
Jan | 206 | 1229 | 0 | 13 | 100% | 444 | 343 | 539 | -196 | -185 | 44.59 | 70.07 | -25.48 | -25.48 | 19.5/24.1 | Jan
*1Feb | 87 | 911 | 0 | 13 | 100% | 553 | 430 | 376 | 54 | 51 | 55.9 | 48.88 | 7.02 | 7.02 | 27.9/21.2 | *1Feb | *1 - House was vacant from mid-Feb to mid-Mar/2024 … so usage then was truly "baseline" load (8-9kWh/day) since no people, heat turned down, minimal lights, etc.
*1Mar | 72 | 811 | 0 | 13 | 100% | 797 | 668 | 367 | 301 | 297 | 86.84 | 47.71 | 39.13 | 39.13 | 35.6/19.9 | *1Mar | My guess is if we were around, about 200kWh of additional energy would have been used - assumes straight-line reduction from Jan-Apr.
Apr | 33 | 489 | 0 | 13 | 100% | 921 | 937 | 353 | 584 | 583 | 121.81 | 45.89 | 75.92 | 75.92 | 47.2/18.9 | Apr
May | 22 | 290 | 2 | 13 | 100% | 1026 | 1186 | 401 | 785 | 786 | 154.18 | 52.13 | 102.05 | 102.05 | 47.9/24.2 | May
Jun | 5 | 4 | 214 | 16 | 100% | 1073 | 1058 | 709 | 349 | 348 | 169.28 | 113.44 | 55.84 | 55.84 | 45.3/38.7 | Jun
Jul | 5 | 1 | 297 | 16 | 100% | 1009 | 1092 | 787 | 305 | 303 | 174.72 | 125.92 | 48.8 | 48.8 | 45.1/40.4 | Jul
Aug | 7 | 3 | 278 | 16 | 100% | 956 | 904 | 794 | 110 | 108 | 144.64 | 127.04 | 17.6 | 17.6 | 36.5/43.8 | Aug
Sep | 5 | 30 | 128 | 16 | 100% | 812 | 851 | 500 | 351 | 357 | 136.16 | 80 | 56.16 | 56.16 | 33.7/31.1 | Sep
Oct | 15 | 242 | 8 | 13 | 100% | 620 | 646 | 397 | 249 | 247 | 83.98 | 51.61 | 32.37 | 32.37 | 27.8/17.9 | Oct
Nov | 120 | 877 | 0 | 13 | 100% | 490 | 345 | 459 | -114 | -116 | 44.85 | 59.67 | -14.82 | -14.82 | 20.7/20.7 | Nov
Dec | 161 | 896 | 0 | 13 | 100% | 416 | 339 | 613 | -274 | -273 | 44.07 | 79.69 | -35.62 | -35.62 | 14.2/30.6 | Dec
ANNUAL | 738 | 5783 | 927 | 14.3296 | 100% | 9117 | 8799 | 6295 | 2504 | 2506 | 1261.02 | 902.05 | 358.97 | 358.97 | 47.9 on 5/8 | ANNUAL
|  |  |  | ^^^^Usage Average |  | 8971 | Tesla Annual Predicted
WARM | COLD | Months based on abnormal heating/cooling days

## 2023 Data
2023 Gas and Electrical Usage plus Solar Production - installed/operational on Sep/2023
This raw data flows to the other worksheet tabs and graphs
| Xcel Data |  |  |  |  | PVWatts | Powerwall-Dashboard |  |  | Xcel | Costs |  |  |  | Peak Daily
| Gas | Heating | Cooling | Cents/ |  | Predicted | Solar | Usage |  |  | Solar | Usage | Net@NEM of |  | Solar/Usage
Month | Therms | Days | Days | kWh | NEM | kWh | kWh | kWh | Net | Net | kWh | kWh | 100% | Actual | kWh | Month
Jan | [5 empty] | 444 | [9 empty] | Jan
Feb | [5 empty] | 553 | [9 empty] | Feb
Mar | [5 empty] | 797 | [9 empty] | Mar
Apr | [5 empty] | 921 | [9 empty] | Apr
May | [5 empty] | 1026 | [9 empty] | May
Jun | [5 empty] | 1073 | [9 empty] | Jun
Jul | [5 empty] | 1009 | [9 empty] | Jul
Aug | [5 empty] | 956 | [9 empty] | Aug
Sep | 9 | 47 | 79 | 14 | 100% | 812 | 897 | 364 | 533 | 505 | 125.58 | 50.96 | 74.62 | 74.62 | 37.6/23.4 | Sep
Oct | 38 | 415 | 5 | 13 | 100% | 620 | 619 | 392 | 227 | 225 | 80.47 | 50.96 | 29.51 | 29.51 | 28.3/18.6 | Oct
Nov | 117 | 751 | 0 | 13 | 100% | 490 | 389 | 419 | -30 | -32 | 50.57 | 54.47 | -3.9 | -3.9 | 20.5/19.9 | Nov
Dec | 162 | 966 | 0 | 13 | 100% | 416 | 327 | 616 | -289 | -294 | 42.51 | 80.08 | -37.57 | -37.57 | 14.9/26.1 | Dec
ANNUAL |  |  |  | 13.3769 | 100% | 9117 | 2232 | 1791 | 441 | 404 | 299.13 | 236.47 | 62.66 | 62.66 | 37.6 on 9/7 | ANNUAL
|  |  |  | ^^^^Usage Average |  | 8971 | Tesla Annual Predicted
WARM | COLD | Months based on abnormal heating/cooling days

## 2020-2023 Data
Xcel Data Pre-Solar (Solar started Sep/2023)
2021 |  |  |  |  | 2022 |  |  |  |  | 2023 |  |  |  |  | 2020 Partial - NOT graphed
| Therms | Heating | Cooling | kWh |  | Therms | Heating | Cooling | kWh |  | Therms | Heating | Cooling | kWh |  | Therms | Heating | Cooling | kWh
Jan | 184 | 1034 | 0 | 635 | Jan | 166 | 1163 | 0 | 505 | Jan | 188 | 1060 | 0 | 495 | Jan
Feb | 221 | 1086 | 0 | 566 | Feb | 161 | 907 | 0 | 516 | Feb | 160 | 932 | 0 | 444 | Feb
Mar | 121 | 657 | 0 | 549 | Mar | 113 | 504 | 0 | 433 | Mar | 113 | 599 | 0 | 411 | Mar
Apr | 83 | 348 | 0 | 482 | Apr | 48 | 299 | 11 | 347 | Apr | 44 | 243 | 0 | 356 | Apr
May | 31 | 35 | 170 | 462 | May | 24 | 36 | 157 | 393 | May | 14 | 119 | 32 | 350 | May
Jun | 11 | 0 | 313 | 876 | Jun | 10 | 0 | 308 | 626 | Jun | 6 | 8 | 211 | 355 | Jun
Jul | 10 | 0 | 278 | 940 | Jul | 7 | 0 | 268 | 811 | Jul | 7 | 5 | 207 | 734 | Jul
Aug | 6 | 0 | 278 | 811 | Aug | 7 | 0 | 268 | 995 | Aug | 7 | 5 | 207 | 654 | Aug
Sep | 7 | 42 | 150 | 706 | Sep | 9 | 14 | 0 | 599 | Sep | 9 | 47 | 79 | 364 | Sep | 20 | 126 | 141 | 500
Oct | 26 | 371 | 0 | 403 | Oct | 22 | 400 | 0 | 358 | Oct | 38 | 415 | 5 | 392 | Oct | 64 | 481 | 6 | 487
Nov | 79 | 875 | 0 | 533 | Nov | 127 | 1191 | 0 | 452 | Nov | 117 | 751 | 0 | 419 | Nov | 104 | 755 | 0 | 549
Dec | 160 | 1212 | 0 | 649 | Dec | 210 | 1311 | 0 | 665 | Dec | 162 | 966 | 0 | 616 | Dec | 211 | 1028 | 0 | 595
ANNUAL | 939 | 5660 | 1189 | 7612 | ANNUAL | 904 | 5825 | 1012 | 6700 | ANNUAL | 865 | 5150 | 741 | 5590 | Sep-Dec | 399 | 2390 | 147 | 2131
COST | 784 |  |  | 993 | COST | 1150 |  |  | 1019 | COST | 1038 |  |  | Solar started Sep/2023
| 3.562 | Cents/kWh Equiv |  | 13.0452 |  | 5.4271 | Cents/kWh Equiv |  | 15.209 |  | 5.1195 | Cents/kWh Equiv
NG Cost / (Therms * 29.3kWh/Therm * 80% efficient furnace)
WARM | COLD | Months based on abnormal heating/cooling days
Questionable Data - usually fixed via interpolation!