## Sheet1
2510 Blue Heron Energy Usage and Costs - all numbers/analysis is approximate but in the ballpark
3,200 finished square feet - 1,400 unfinished in basement - single heater, hot water, A/C - built in 1992.
Year | TotalCost | Gas-therm | Gas-Cost | Max-Mon-Temp | KWH | E-Cost | Max-Mon-Temp
1999 | 1000
2000 | 1200
2001 | 1570
2002 | 1250
2003 | 1350
2004 | 1650
2005 | 1700
2006 | 1700
2007 | 1600 | 829 |  | 173-Dec-34 | 10223 |  | 1990-Dec
2008 | 1850 | 773 |  | 140-Dec-31 | 9875 |  | 1827-Dec
2009 | 1530 | 805 |  | 212-Dec-26 | 8889 |  | 1850-Dec
2010 | 1560 | 851 |  | 153-Dec-34 | 8457 |  | 1509-Dec
2011 | 1690 | 910 | 650 | 177-Dec-30 | 9112 | 1040 | 1530-Dec
2012 | 1384 | 776 | 490 | 170-Dec-33 | 8269 | 894 | 1780-Dec
2013 | 1621 | 1053 | 644 | 220-Dec-34 | 9113 | 977 | 1726-Dec 717-Jul
2014 | 1817 | 1122 | 844 | 199-Dec-32 | 8179 | 973 | 1701-Dec 645-Jul
2015 | 1538 | 994 | 866 | 198-Dec-33 | 7266 | 672 | 810-Dec 769-Aug
2016 | 1418 | 878 | 551 | 199-Dec-31 | 7518 | 867 | 823-Dec 1072-Jul
2017 | 1471 | 861 | 589 | 177-Dec-34 | 7511 | 884 | 972-Dec 1093-Jul
2018 | 1585 | 1003 | 647 | 219-Dec-33 | 8843 | 938 | 915-Dec 1051-Jul-72F | "4% higher than average of neighbors: -3% electricity and +9% gas"
NEW Furnace and A/C installed in October/2019. Furnace probably won't make much diff (although fan cost less) and A/C should be better
2019 | 1647 | 1065 | 747 | 235-Feb-27 | 7466 | 900 | 715-Dec 901-Aug-74F
2020 | 1585 | 1041 | 629 | 212-Dec-36 | 7568 | 956 | 663-Dec 1048-Jul-75F
2021 | 1777 | 946 | 784 | 160-Dec-39 | 7550 | 993 | 639-Dec 910-Jul-74F
4 Blown windows replaced ($1,300) and insulation put above garage and attic ($4,200) in the Fall
2022 | 2169 | 1008 | 1150 | 211-Dec-32 | 7700 | 1019 | 664-Dec 1001-Aug-74F
[5 empty] | ^^^^ | Math mistake in adding up monthly utility bills - it was 6,700 - D'OH! ;-)
Year | TotalCost | Gas-therm | Gas-Cost | Max-Mon-Temp | KWH | E-Cost | Max-Mon-Temp
Moved to Time of Use Pricing in October/2017 - doesn't seem to have made much of a difference
GAS: House Heating (1992), Hot Water (2004), Stove (2007?), BBQ (2002), new furnace (Oct/2019), new hot water heater (Feb/2020)
Per Xcel bill, baseline monthly gas usage (in summer with minimal heating) is about 10 Therms
Variable cost is about 65 cents/Therm …plus $11/month for service/facility
Highest usage month tends to be December (as high as 200 Therms) and is variable based on average temperature - no surprise!
Thermostat heat setting is 68 with 64 setback in the evening - window blinds used to help control
ELECTRIC: Oven (2007), Furnace Fan (1992), Clothes Dryer (1998), two fridges (1998 & 2005?), A/C (1998 - low SEER - upgrade in Oct/2019), lights, computers, etc.
Per Xcel bill, baseline electricity usage (no A/C and no holidays lights) is about 600KWH/month
Variable cost is about 10 cents/KWH … plus $7/month for facilties and $3/month renewable adjustment
Also do WindSource ($2/month) but that is optional … unlike the mandatory renewable adjustment subsidy - GRRR!
Highest usage month is December (surprise!) with increase of ~+900KWH due to holiday lights
Also see bump-up in summer due to A/C (74 temp setting), but we don't run much (open windows!) - peak in August of ~+400KWH
"Baseline" usage (with computers on standby, etc.) is about 200 Watts Continuous - measured at panel
This is total of Radon Fan, computers, monitors (all on standby), webcam, GFI's, oven (!), fridge, and other misc.
I.e. about 5KWH/day or 150 KWH/month … with nothing really on (!) … and no obvious vampires